St Mary’s Catholic Primary School Personal Emergency Evacuation Plan(PEEP) Overview

Background.

The aim of a Personal Emergency Evacuation Plan (PEEP) is to provide

people with any form of disability, who cannot be adequately protected by the

standard fire safety provisions within a premises, with a similar level of safety

from the effects of fire as all other occupants.

Responsibilities

Head Teachers should identify persons who may need additional help in

evacuating from the school in the event of an emergency and ensure they are

able to offer suitable practical assistance. However, the aim should be to

facilitate independent escape wherever possible.

For pupils, staff, contractors and regular visitors, once it has been identified

that a person would require assistance in the event of a fire, the Personal

Emergency Evacuation Plan Questionnaire contained in Appendix 1 should

be completed, and the individual’s needs determined from the information

supplied i.e. the number of assistants (including deputies) and methods used.

These assistants may require specialist training. The potential for lone

working also needs to be considered here.

A simple strategy for providing appropriate assistance be determined and

recorded on the Personal Emergency Evacuation Plan - Required Action

sheet contained in Appendix 2.

The responsible person preparing the plan should not make assumptions

about the abilities of the disabled person. They are likely to know what they

can achieve. It is also important though that the disabled person does not feel

pressured to do more physically than they would generally be able to achieve.

Some negotiation skills, sensitivity and level of discernment are required by

the person carrying out the PEEP. Training is essential.

For occasional visitors, contractors, events such as open evenings or school

plays etc. a range of standard PEEPs can be used to ensure the safe

evacuation of disabled people. Examples of standard PEEPs are available on

the saferschools website www.StMaryscatholic primary school.taw.org.uk. These contain

some standard options but may need to be tailored to the schools individual

circumstances.

Supporting Information

Pupils

When a child is enrolled in the school, their escape plan should be developed

as part of the admission process. Care should be taken that all disabled

children are provided with a plan if they need one, whether they have been

provided with a statement or not.

Pupils with learning difficulties may need to practice their routes for escape

more regularly than termly. If so, this should be written into their PEEP.

All people involved in the escape plans for PEEPs involving pupils will need to

practice. However, to avoid unnecessary distress or risk to some pupils,

simulated escape may be more appropriate.

Staff

The SENCo and Class teacher should complete the PEEP in consultation with the

school without delay, if such a plan has not already be completed or when

there is a change in a person’s ability to make their way out of the building

(temporary or permanent). For all new staff this should form part of the

induction process. This should be in confidence and it should be made clear

that if they need help, it will be provided.

Some people may have difficulty in evacuation situations that they would not

normally have e.g. people who have asthma may be affected in smoky

conditions caused by fire, or people may be affected by the stress of an

emergency situation.

Where a disabled person has elected to make an exceptional effort to get out

unaided, it may not be practical for them to practice during drills. However,

timing a short section of the escape will assist in establishing how long a full

escape might take (see time needed to escape later).

Occasional visitors/contractors

The HM Govt publication ‘Means of Escape for Disabled People’, which is

endorsed by the Disability Rights Commission, details escape measures for

ten disability groupings:

Electric wheelchair user

Wheelchair user

Mobility impaired person

Asthma and other breathing / health issues

Visually impaired person

Hearing impaired person

Dyslexic/orientation disorders

Learning difficulty / autism

Mental health problems

Dexterity problems

3. These groupings have been collated to produce four standard PEEPs for use

at St Marys which are available on the schools website

www.bexley.gov.uk/saferschools. As previously indicated, these contain

some standard options but may need to be tailored to the individuals

circumstances.

A prominent notice should invite persons entering the premises to declare if

they require assistance. The notice should read:

“We operate a system of assisted evacuation for disabled

persons and others who may need help in an emergency.

Please speak to our staff and we will provide you

with a suitable strategy.

We have trained members of staff who are able to assist you if

it is necessary to evacuate. These staff will be constantly

aware of your location in the premises, as they are with other

persons. In the event of an emergency, we want to ensure

that we provide you with assistance in the most appropriate

way for you.

Staff will ensure that children in their care are evacuated

safely. You must follow instructions given by staff for your

own safe evacuation.”

The PEEPs can be held at reception and are offered to people as part of the

procedures for visitors as an extension to the signing in process.

The disabled person can then choose the escape option to suit them and can be

given suitable instructions. A suitable plan should include consideration of

what the building, management and disabled person can offer.

It is also the responsibility of the disabled person to identify themselves when

they are informed of the availability of a choice of evacuation plan and to cooperate

with the school by giving any information necessary for the safe

execution of the plan.

All reception staff should be trained in disabled etiquette. In the main

however, visitors to the school are unlikely to spend time alone. All staff are

responsible for ensuring visitors leave the building safely, whether or not they

have a disability and should point out the escape routes.

It should not be assumed that because a person has a disability that they will

need or ask for a PEEP. Some will be confident that they can get out of the

school building unaided. Conversely there should be an opportunity for other

people who may not be considered as having a disability to request an escape

plan e.g. epilepsy, asthma, heart disease or emotional problems.

4

School plays, public events & open days etc.

In the event of a school play, public event or open day etc. unknown visitors

may enter the school and it may be more difficult to gather the information

prior to the need to escape. In addition, it may be impossible to know how

many disabled people are present at any one time or their level of disability.

In these instances, a system of standard PEEPs should be used and

advertised.

It is suggested that when letters are sent out regarding events, a similar

phrase to the one posted in reception is sent out to give you advanced notice

of anyone who may need assistance.

Training of staff is vital at such events as they will have to provide assistance

and advice to disabled users of the building as the incident develops. The

plans to enable them to safely leave the building need pre-planning and the

assessment of the types of escape of that be provided within the building.

Staff will need to understand all the options and standard PEEPs and be able

to communicate these effectively to disabled people at the time of the escape.

This will enable them to give maximum assistance to disabled people,

irrespective of the nature of their impairment.

In order to do this they would need to receive disabled etiquette training, see

appendix 3. This should form part of the schools fire risk assessment.

Regular simulated practice should take place alongside moving, handling and

disability evacuation etiquette training.

Training is very important and must be regularly carried out to ensure

staff involved in the escape plans feel confident in their skills and

disabled people should feel that they can trust the process.

Time needed to escape

The appropriate time required to make the disabled person’s escape should

be identified. Disabled people should not automatically be required to wait for

the main flow of escape, but if they are likely to cause obstruction for other

people, or there might be a risk of injury to themselves or others, it will be

safer for everyone if they follow the main flow of people.

Wherever possible the escape plan should accommodate both fast and slow

moving people, however, where they may need to rest or they feel threatened

by people behind them, it may be appropriate to design a plan that allows for

this e.g. resting in refuges provided along the route (see later).

Where a person can make their escape unaided, it may take them longer than

the three minutes generally accepted as the time taken for non-disabled

people to make their escape in case of fire. They should be given the

opportunity to take the safest route, which offers them the longest period of

safety, for example through to an adjacent fire compartment, which has a one hour

fire-resisting rating, and then down the escape stair, which has a 30-

minute fire-resisting rating. It is important therefore that all school users keep

fire doors shut and observe good housekeeping practices to ensure this

maximum time is available to them.

General

The provision of suitable assistance is by nature a very practical issue, which

calls for a degree of pragmatism. The fact that the school can call on the

assistance of physically fit, trained, and capable staff means that it is unlikely

that any special measures will be needed to assist with any persons

evacuation, other than the provision available from those staff. However, the

aim should be to facilitate disabled people’s independent escape as far as

possible, also this reduces the chances of confusion and the chance of a plan

breaking down. In this instances the person may rest along the way in

refuges (see below).

It should be made clear to the disabled person that the circumstances of

escape are considered to be exceptional e.g. allowing escape by going down

the stairs on their bottom would not be appropriate in most circumstances and

support or assistance usually given at other times will still be available.

Evacuation in an Emergency

Any staff assisting in the evacuation of the disabled will need to have an

understanding of the technical building information, including; the fire safety

systems, building layout and fire protection, refuges, safe routes and

equipment etc. to enable them to fully understand the options open to them

and places where they will be safe during the evacuation.

Temporary Refuges

A refuge is a designated temporary safe space where people can wait for

assistance. A refuge area must be clearly signed and should be of sufficient

size to accommodate both people using it as a refuge and any people passing

through on their way out of the building. A refuge may be equipped with a

suitable means of communication. Most refuges will only accommodate one

wheelchair, but in the event that there is more than one wheelchair user,

provided there is a suitable evacuation strategy in place this should not be a

problem – as one person progresses on their journey, the next person will

take their place in the refuge.

Refuges should only be defined after consultation with a fire surveyor as the

requirements for fire separation and structure are very specific and the

inclusion of a refuge in the building may also require alteration to your

school’s Fire Risk Assessment.

6

A refuge can only be defined if there is also a specific procedure implemented

to ensure that users are able to evacuate from the refuge under safe and

controlled conditions.

Where the refuges are defined as part of the PEEP any volunteers for

disabled who require assistance in escaping need to have a pre-arranged

meeting place. If the disabled person is likely to move around the school, a

means of communication will be necessary between the escape volunteers

and the disabled person. They can then arrange to meet at a particular refuge

point during the escape.

In some cases a disabled person may not be able to get to the refuge without

assistance, and in this case the volunteer needs to go straight to the disabled

person location at the beginning of the evacuation procedure. The assistant

could be someone that works closely alongside the disabled person (buddy

system) and they can set off on their escape journey together. This is likely to

be the case for pupils.

People should never be left in a refuge point to wait for the fire and rescue

service, it is the responsibility of the Head Teacher to ensure that all users of

the school building are evacuated and not dependent on the assistance of the

Fire & Rescue Service.

A PEEP should contain details of the escape route(s) the disabled person will

be expected to use. Clear unobstructed gangways and floor layouts should be

considered at the planning stage.

If possible horizontal evacuation routes should be sought out so that the

evacuating person can move freely into an adjacent building/area without

having to negotiate steps and stairs, of which there are none at St Marys. Although the lips on many of the external door can prove difficult for wheel chair users to negotiate themselves, so assistance may be required.

.

7

Equipment

Communication is essential and may include the use of telephones, and

hand held portable radios, kept in the office  etc.

Mobility impaired people

There is a vast range of people who fit into this category, and it may be

relevant for people who have heart disease, asthma or heart conditions.

The preferred option for escape is horizontal evacuation to outside the

building, horizontal evacuation to another fire compartment or evacuation lift,

eventually arriving at a place of ultimate safety outside the building.

Within this group, many people will be able to manage stairs, and to walk

longer distances, especially if short test periods are built into the escape

procedure. Consider the provision of suitable handrails e.g. one may be

needed to the left or the right side of the stairs depending on the individual,

and step edge markings (these would be considered reasonable adjustments

and reduce the need for assistance). Information regarding the position of the

fire is also useful so that there are no false starts or the necessity to change

direction during the escape.

8

As St Mary’s has no stairs the evac chair of need to carry a person and there chair is not necessary.

.

9

Deaf and Hearing Impaired persons

Deaf people working alongside hearing colleagues/pupils may not require

special equipment and a buddy system may be the most appropriate method

for alerting them of the operation of a fire alarm. This must not be done on a

casual basis in case everyone assumes that someone else has given the

warning.

Providing they have been made aware of what to do in the event of a fire, they

will be able to see and understand the behaviour of those around them.

However, deaf or hearing impaired persons working alone or outside normal

school hours may need an alternative method of being alerted to an

emergency. for example many alarm systems have visual indicators in the

form of a flashing light, or vibrating pager systems can be used.

Sound enhancement systems for alarms/PA systems may also be provided in

the school to transmit the message through that system e.g. via a hearing

loop or radio paging receiver. Flashing beacons or paging systems are the

preferred option (ensure other lighting does not conflict with flashing

beacons). Pager systems may also tell them in which direction to travel.

It is advised that flashing beacons are also placed in toilet facilities where a

person with hearing impairment may be alone, and may have removed their

hearing aid in the toilets in order to clean it.

It is important to consider the deaf and hard of hearing in any sweep of a

building by fire marshals. Fire Marshals should not expect a vocal call to be

sufficient and should be trained to physically check all areas for which they

have responsibility, provided it is safe for them to do so.

A person in this case may become obvious as they do not react in a logical

manner during the escape as they may not have heard the alarm. Shouting is

unlikely to help. It may be necessary to walk right up to the person and explain

what is happening with signs or even a written note or pre-prepared short

written instruction.

For staff, regular visitors or pupils a British Sign Language Interpreter should

be considered to explain the instructions for them in the event of a fire.

Other forms of communication can also be used in addition e.g. intranet,

telephone systems etc.

Blind and Visually impaired people

Staff, Visitors and pupils should be accompanied by designated staff to assist

with evacuation and orientation training may also be necessary. People who

are visually impaired are helped to escape by the provision of good signage

and other orientation clues.

Most visually impaired people have some sight and will be able to use this

during the escape in order to make their own way out of the school as part of

10

the crowd. Where the physical circumstances are appropriate, they will have

no problems leaving the building.

Consider the use of specialist orientation information e.g. tactile information

and audio signals. Other building design features on escape routes or stairs

that may assist them are: good colour contrasts, handrails, step edge

markings, contrasting nosing on stairs, colour contrasted or different textured

floor coverings or way finding information or signs. Visually impaired people

will need to be informed of these features as part of the PEEP and information

provided in advance of the person starting at the school. Where there is a

lack of orientation information staff assistance will be necessary to provide

guidance out of the building.

Other than occasional visitors, school plays etc. good familiarisation should

take place so that the visually impaired have good orientation information

available to them and are aware of alternative routes to leave the building.

Instructions available in Braille, large print or audio tape will assist in providing

fire instructions. It can also be useful to provide a tactile map of the escape

routes and to provide orientation training to visually impaired staff, pupils or

regular visitors.

When school furniture is re-arranged and escape routes are affected, it is

important that these changes are documented and made known to visually

impaired people in the school.

Assistance for the person and their dog

Where a person uses a guide dog, they may prefer the dog to assist and only

need escape routes pointed out to them. Others may request a human

assistant so a buddy needs to be allocated. It may also be necessary to

provide a person to look after the dog. This may be provided in a formal or

informal manner.

Assistance with opening doors

Some people may need assistance with opening doors e.g. upper limb

disorders. A formal or informal arrangement can be made here, but the

potential for lone working must be considered here.

People with cognitive disabilities

People with cognitive disabilities, including dyslexia, dyspraxia and autism

often have problems comprehending what is happening in escape conditions,

or may not have the same perceptions of risk as non-disabled people.

Provision of good orientation facilities and measures within the building is

essential. There may be a reluctance by some to take an unknown route from

the school building. The PEEP should be used to give them an opportunity to

understand the possible need for choice and change of direction during an

escape.

11

Orientation information and colour coding of escape routes can also provide a

useful tool. Practice of route options can dramatically reduce the requirement

for staff assistance. Practice is essential for this group of people, especially in

school situations where one person is responsible for a number of pupils. Use

of escape routes for general circulation is an advantage as they will be

familiar.

This group may need fire instructions read to them or a DVD or video may

help. A photographic explanation of the route can also be useful.

It is important to ask the group what they understand and to develop the plan

based on how they will find the escape routes.

Sometimes people with cognitive disabilities may move slower than the main

flow and there may be a need for a fast and slow lane in an escape stair.

Members of the public who come to school events may have cognitive

difficulties and it cannot always be assumed that they will have a carer or

helper with them, so efforts should always be made to enable the disabled

person to leave the building rather than assume a carer or helper will

undertake this role.

It may not be possible to tell that a person has an impairment that affects their

ability to orient themselves around the building, and staff should be made

aware of such possible situations and to be tactful when assisting a person

who may seem lost or unsure of what to do during an escape.

Training

To be effective, any emergency evacuation plan depends on the ability of staff

to respond efficiently. Staff will therefore require instruction, practical

demonstrations and training appropriate to their responsibilities.

This should include the following elements:

Fire drills.

Fire Awareness Training

Specific training for Fire Marshals.

12

Maintenance

The Head Teacher is responsible for the maintenance and testing of mobility

equipment used for evacuation purposes e.g. Evac-Chairs and Stair Climbing

Devices, hand held portable radios etc.

Public Areas

Some parts of school may be in use out of normal office hours or may also be

open to the pubic. Even when devices are provided to assist with evacuation

of disabled persons these areas may not be staffed at a sufficient level for the

required number of trained operators to be available.

It is a matter for the individual Head Teachers of such schools to either

prohibit or restrict the numbers of persons allowed within the building who

may require assistance.

Co-ordinated information

Once each PEEP is written these should be held by the Head Teacher as the

responsible person. This will ensure that the plans for each school building

and its occupants can be co-ordinated. This is especially important where

there is potentially a high number of pupils and staff to evacuate to ensure

there is no conflict. The proposals for PEEPs should be shown to any

competent person carrying out the schools fire risk assessment and their

assistance may be needed in identifying escape routes, refuges etc.

Language difficulties

Language difficulties must be considered and use of signs, translated material

etc. can be used to assist.

Appendix 1

PERSONAL EMERGENCY EVACUATION PLAN

QUESTIONNAIRE

Name of Person:

Date:

* strike through any sections that do not apply.

Mobility Impairment

Can you leave the building unassisted?

(Circle appropriate answer)

Yes No

Can you move quickly in the event of an emergency? Yes No

How far can you walk unaided? Distance:

Do you find stairs difficult to use? Yes No

Are you a wheelchair user? Yes No

Is the wheelchair required for all circumstances Yes No N/A

Can your wheelchair be dispensed with for short

periods?

Yes No N/A

Is the wheelchair a standard size or an electrically

powered type with wider dimensions?

N/A

Normal Electrical Width………

If yes to any of the above, we have a high ratio of staff that are physically fit, suitably trained,

and strong enough to carry all but the heaviest people with ease. These staff will be constantly

aware of your location in the premises, as they are with other persons. In the event of an

emergency, we want to ensure that we provide you with assistance in the most appropriate way

for you.

What kind of assistance do you require?

‘Wheelie’ down the stairs with the wheelchair tilted

onto its rear wheels

Yes No

Carried down the stairs in your wheelchair Yes No

Assisted from your wheelchair and a suitable number

of helpers carry you down the stairs

Yes No

Assisted to walk down the stairs with one assistant

holding each arm

Yes No

Assisted to walk down the stairs with one assistant

and the use of the handrail

Yes No

Provided with supervision as you move down stairs

on your bottom, unaided

Yes No

Self transfer to an evacuation chair/stairclimber? Yes No

Could the medical nature of your condition be

aggravated by the use of such a device

Yes No

Has a member of staff and a deputy be assigned to

assist you in an emergency?

Yes No

How might your mobility be worsened e.g. by smoke

etc.?

Details:

14

Any other problems/observations/or solutions? Details:

Hearing Impairment

Would you hear the fire alarm/an announcement

informing you that there was an emergency?

Yes No

Would a visual indicator assist? Yes No

Is there to your knowledge any special or purposely

designed hearing system or device available which

might assist you in hearing the fire alarm more

clearly?

Yes No

If yes, details:

Would your response to a fire alarm being activated

be helped by an assistant(s) who could provide

support in the fire evacuation procedure?

Yes No

Would a vibrating pager unit that operated when the

fire alarm was actuated be of assistance?

Yes No

Visual Impairment

Do you have strong enough eyesight to see your way

out of the premises unaided?

Yes No

Can you read the escape instructions?

If not, what format do you need them in?

Yes No

Details:

Do you require aid to help you move around the

building for example: a cane, guide dog or other

equipment?

Yes No

How long does it take you to leave the building in

normal circumstances?

Time in minutes:

Could you find your way out of the building by an

alternative route should your normal route be

unavailable?

Yes No

Do you think the speed at which you leave the

building may have the potential to hold up other

people leaving the building in corridors and

stairways, or that they may cause you injury as they

pass you more quickly?

Yes No

Would tactile signage or floor surface information be

of assistance to you? Yes No

Is there any other disability that may prevent you

from evacuating without assistance?

Yes No

Details:

15

Cognitive Impairment

Are you able to understand what is happening in an

emergency?

Yes No

Do you understand the risks? Yes No

Do you understand the possible need for choice and

change of direction during escape?

Yes No

How long does it take you to leave the building in

normal circumstances?

Time in minutes:

General Information

Do you understand the concept of a fire refuge area? Yes No

Might the measures needed for you to escape from

the building in an emergency adversely affect the

safe escape of other occupants?

Yes No

Do you think any special staff training is required to

give you the assistance that you would need in an

emergency?

Yes No

Are you aware of the emergency evacuation plan

which operates in the school?

Yes No

Do you understand the escape instructions? Yes No

Do you require a written copy of the emergency

evacuation plan?

Yes No

Are the signs which mark the emergency exits and

the routes to the exits clear enough?

Yes No

Could you raise the alarm if you discovered a fire? Yes No

Are you likely to move around the building? Yes No

Do you work out of hours? Yes No

Do you work alone? Yes No

Assessment carried out by:

Date:

Notes:

16

Appendix 2

PERSONAL EMERGENCY EVACUATION PLAN

REQUIRED ACTION

The required action has been determined from discussion with the person

requiring additional help.

Staff will ensure that the location of the following person is always known.

Name: Department:

Working location:

Recognisable by:

In the event of a fire or other emergency requiring evacuation of the premises, this

person will be assisted to escape by the following means:

Awareness of the procedure:

I am alerted of the need to evacuate the school by:

Existing alarm system Yes/No

Pager device Yes/No

Visual alarm system Yes/No

Other, please specify

Designated assistance:

The following people have been designated to give me assistance to get out of the

school building in an emergency:

Name(s)

Contact details

Refuges:

The nearest doorperson/designated assistant will assist me immediately into the

nearest available refuge area, where provided.

The refuge areas are:

Safe route(s)

(Attach plan if appropriate and include refuges, safe routes & alternative routes)

17

Insert exact method of assistance required:

(Transfer procedures, methods of guidance etc.)

Equipment provided:

(Evac chairs, Stairclimber device, hand held portable radios, visual indicators, pager

systems, tactile signs, handrails etc.)

Training provided:

(include orientation training where appropriate)

Details of any other action taken:

Plan to be reviewed ………………………(insert date)

18

Appendix 3

Disabled etiquette:

o The person with the disability is the main stakeholder – their views

count.

o A suitable plan should be negotiated and the person consulted

about their evacuation plan

o It should be made clear that requesting a plan will not result in

restrictions on movement around the building

o The time required for escape should be identified

o If they need it - rest places may be provided on the route

o Staff volunteers should be given training and support

o Cover etiquette, moving, lifting and handling techniques

Notice for the office